## Slide 1: Urology
Clinical Application Specialist Team

## Slide 2: Contents
Kidney - Anatomy, function - How to scan - Clinical findings - Study
Bladder
Prostate

## Slide 3: 1. Kidney – Anatomy
• Retroperitoneal organ
• Height : 10~14 cm
• Length : 5~6 cm
• Width : 2.5~3 cm
• Weight : 120~190g

## Slide 4: 1. Kidney – Function
• Excretion
Collects metabolites and wastes to urine
• Homostasis
Maintain constant water content, electrolyte and acidity
• Endocrine
Blood pressure maintenance, hormone production & activation

## Slide 5: 1. Kidney – How to scan
P
Medulla
Cortex
Capsule
Renal sinus
• Patient : Supine
• Probe : Transverse & longitudinal
• Location : Under the liver and spleen
• Characteristic : ①Expressed amount of color
.②Color expression of tree - good at perfusion

## Slide 6
Congenital | Acquired
Dromedary hump Fetal lobulation Hypertrophied column of Bertin Horseshoe Ectopic | Renal sinus lipomatosis Calculus - (Hydronephrosis) Cyst - (Polycystic) Acute pyelonephritis CRF Carcinoma
1. Kidney – Clinical findings

## Slide 7: 1. Kidney – Clinical findings
Femur
Tibia
Dromedary hump
Mild
Moderate
Severe
• Definition : Cortex protruded like camel hump
• Frequency : Fairly common
• Characteristic : Normal function
• Clinical tip : Compare to cortex tissue and 3month FU

## Slide 8: 1. Kidney – Clinical findings
Femur
Tibia
Fetal lobulation
• Definition : Signs of kidney segment of birth
• Symptom : Normal function
• Characteristic : Looks like notch
• Clinical tip : Cortex and medullary check

## Slide 9: 1. Kidney – Clinical findings
Femur
Tibia
Hypertrophied column of Bertin
Mild
Moderate
Severe
• Definition : Hyperplasia of cortex to CEC(Central Echo Complex)
• Characteristic : Looks like mass, similar pattern to adjacent cortex
• Clinical tip : Do not show expands of renal pelvis, calyces

## Slide 10: 1. Kidney – Clinical findings
Femur
Calculus
• Definition : Salt or calcium contained secretions become like stone
• Cause : When Balance is broken due to salts or calcium hyperingestion etc.
• Progress : Abdominal pain, hydronephrosis
• Clinical tip : Posterior shadowing, twinkle artifact

## Slide 11: 1. Kidney – Clinical findings
Femur
Tibia
Hydronephrosis
Mild
Moderate
Severe
• Definition : Renal pelvis and calyces expands due to urine
• Cause : Obstruction of urinary tract, Pregnancy, calculus, bladder reflux,
trauma, Benign prostatic hyperplasia
• Characteristic : ① Mild - renal pelvis expands
..② Moderate - renal pelvis and calyces expands
.. ③Severe - renal pelvis and calyces expands, cortex thin

## Slide 12: 1. Kidney – Clinical findings
Tibia
Simple cyst
Mild
• Definition : Pouch with membrane and contents that are distinct from
surrounding tissue
• Cause : Aging
• Characteristic : Mostly benign
• Clinical tip : Clear boundary and hypoechoic, posterior echo enhancement

## Slide 13: 1. Kidney – Clinical findings
Femur
Tibia
Polycystic
Mild
Infantile (Fetal ultrasound)
Adult
• Multiple cyst
①Infantile – Recessive gene, fine cyst,
liver disease
②Adult – Dominant gene, age (over 40Y)
large cyst, complication

## Slide 14: 1. Kidney – Clinical findings
Femur
Tibia
Acute pyelonephritis
Mild
Severe
• Definition : Bacterial growth in kidneys as a kind of urinary tract infection
• Cause : Mostly caused Escherichia coli, female, right kidney
• Symptom : Back pain, fever, hematuria
• Progress : If repeated, develops into chronic pyelonephritis

## Slide 15: 1. Kidney – Clinical findings
Femur
Tibia
CRF (Chronic Renal Failure)
Severe
• Definition : Kidney function is very low so waste not excreted
• Cause : Diabetes mellitus, hypertension over 3month, kidney function decrease
• Characteristic : Function is slowly degraded and can not be recovered
• 4 level of echo
- Ⅰ: liver> kidney, Ⅱ: liver=kidney, Ⅲ: liver<kidney, Ⅳ:liver<<kidney
Ⅰ
Ⅱ
Ⅲ
Ⅳ

## Slide 16
Anatomy
• Storing and discharging urine
• Normal size
- Male : 600ml, Female : 500ml
Function
2. Bladder – Anatomy & function

## Slide 17
Talus
Talus
neck
Lateral
malleolus
2. Bladder – How to scan
• Patient : Supine
• Probe : Transverse & longitudinal
• Location : Lower abdomen, upper pubic symphysis
• Preparation : Should full fill the urine
• Characteristic : Filling, post voiding check

## Slide 18
Filling & post voiding
medial
Ischial
tuberosity
lateral
Sciatic nerve
Hamstring origin
Filling
• Size : When bladder filled about 300~400ml
• Residual urine : 50~100ml normal
• Normal wall thickness : Filling : 3mm, Voiding : 6mm
2. Bladder – Measure

## Slide 19
Calculus
medial
Ischial
tuberosity
Greater
trochanter
lateral
• Cause : ① Because of cystitis, BPH etc., urine is concentration in bladder
..② Sweat a lot in summer
• Characteristic : ①Primary - Occur in bladder
.②Secondary - Occur in Kidney or ureter
• Clinical tip : Posterior shadowing, moving to patient position
2. Bladder – Clinical findings

## Slide 20
Cystitis
medial
Ischial
tuberosity
lateral
2. Bladder – Clinical findings
• Definition : Symptoms of inflammation in the bladder
• Cause : Bacterial infection - Escherichia coli
• Symptom : Urinary frequency, fever
• Clinical tip : Measure when patient feel urine.
.When filled bladder wall thickness over 4mm

## Slide 21: 3. Prostate – Anatomy & function
Anatomy
• - 30% of sperm
- Important role in survive of sperm
- Feeding sperm, maintain acidity
- Alkaline, neutralize the strong acidity of
the fallopian tubes
- Contain zinc prevents bacteria infection
Function
• Size : 20 ~ 30ml
• Peripheral : 70%
Transition : 10%
Central : 20%

## Slide 22: 3. Prostate – How to scan
 | Transrectal | Transabdominal
Position | Left decubitus | Supine
Scanning field | 6cm | 10cm
Probe | Endo | Convex
Frequency | 3~10MHz | 1~5MHz
Preparation | Voiding bladder, Enema (if necessary) | Filling bladder
Pain | Yes | No
Compare

## Slide 23
Transabdominal
Prostate
Prostate
3. Prostate – How to scan

## Slide 24: 3. Prostate – How to scan
Transrectal
Prostate

## Slide 25
Right method
Anterior facet
Lateral facet
Posterior facet
head
posterior
anterior
3. Prostate – Meausre

## Slide 26: 3. Prostate – Meausre
Wrong method
Anterior facet
Lateral facet
Posterior facet
head
posterior
anterior

## Slide 27
BPH (Benign Prostatic Hyperplasia)
medial
Ischial
tuberosity
Greater
trochanter
lateral
Sciatic nerve
3. Prostate – Clinical findings
• Definition : Prostate enlarged, blocking the passage of urine under the bladder,
causing urinary occlusion and reducing urine flow
• Cause : Aging of scrotum, heredity
• Symptom : Urinary frequency, nocturia
• Clinical tip : Prostate whole volume over about 40ml

## Slide 28: 3. Prostate – Clinical findings
Cancer
Ischial
tuberosity
lateral
Sciatic nerve
Hamstring origin
Stone
Calculus
• Definition : Malignant tumor in prostate
• Cause : Aging, heredity, race
• Symptom : Hematuria, acute urinary retention
• Characteristic : Irregular margin, Heterogeneous, Asymmetric blood flow
distribution
• Percentage : P zone - 70%, T zone - 20% C zone - 10%

## Slide 29: 3. Prostate – Study
DRE
(Prostate Specific Antigen)
• Protein decomposition enzyme by
made epithelial cell of prostate
• Normal - Below 4ng/ml
Abnormal - Over 10ng/ml
• Cancer suspects increase by more
than 0.75ng/ml in 1 year
PSA
(Direct Rectum Examination)

## Slide 30: 3. Prostate – Study
Biopsy
medial
Ischial
tuberosity
Sciatic nerve
Hamstring origin
Stone
12 core biopsy
• When : PSA level over 10ng/ml
• Position : Supine

## Slide 31
THANK YOU